[image: image1.png]5vDC




  [image: image3.jpg]Hub far Versatile Seience &

Technologies






https://www.youtube.com/watch?v=syk7GJorB3M
Multiple Transformer Oil Temperature Monitoring with Automatic Circuit Breaker Operation
This project aims at monitoring the oil temperature of a transformer continuously and protects from overheating. Since transformers are vital elements of the electric power transmission and distribution infrastructure, they need to be monitored to prevent any potential faults. Failures in a transformer can easily costs several million dollars to either repair or replace, and will also cause a loss of service to customers and revenue until the symptom is found and repaired.

In transformers the need for monitoring the oil temperature is very much necessary. Turning the transformers OFF whenever the temperature is greater than its maximum operating temperature protects the transformer from damage and also the life time of the transformers can also be increased. Since the oil is present inside the transformer there is a necessity to develop a system which can sense the temperature of the oil inside the transformer and automatically switches ON the Circuit breaker if temperature exceeds the limit and vice versa.

The proposed system is a very inexpensive solution. The system makes use of a comparator which gets inputs from the temperature sensors placed inside the oil container of the transformer. The comparator continuously monitors the temperature input and reference input and gives logic high or low. These logics are used to switch ON/OFF the relays which are connected to the circuit breakers to take corresponding action on the transformer. 
The objectives of the project include: 

1. Continuous oil temperature monitoring. 

2. Automated multiple transformer oil monitoring possible.

3.  Relay based Circuit breaker controlling. 

4. Reliable for industrial needs

The project provides us exposure on:
1. Temperature sensor characteristics.

2. Relay working principle and need for a driver.

3. Comparator working principle

4. PCB designing.
The major building blocks of this project are:

1. Regulated power supply.

2. Comparator.

3. Temperature sensors.

4. Relay with driver.

5. Potentiometers.

Regulated Power Supply:
[image: image4.jpg]



Block Diagram:

[image: image2.png]Multiple transformer oil temperature monitoring with
automatic circuit breaker operation

Power supply

Temperature
Setting-1

Temperature
Sensor-1

Temperature
Setting-2

Power supply

Temperature
Sensor-2

Relay driver
Circuit




www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.

Dilsukhnagar: #F-8, 1st floor, Sreemaan Rama Towers, Opp:Kalanikethan, Chaitanyapuri, Hyderabad - 62.

[image: image3.jpg]