[image: image1.png]5vDC




  [image: image3.jpg]Hub far Versatile Seience &

Technologies






https://www.youtube.com/watch?v=O2AF3efbLiI
 PHASE FAILURE PROTECTION OF THREE PHASE LOAD
Phase failure protection is crucial in safeguarding three-phase loads from damage and ensuring uninterrupted operation. This project presents a novel approach employing transformers, RYB phases, a regulated power supply, relays, and a 555 timer to detect and mitigate phase failures effectively. The proposed system operates by monitoring the voltages across each phase using transformers and RYB phases. A regulated power supply ensures stable voltage levels for accurate detection. Upon detecting an imbalance or absence of voltage in any phase, the system triggers relay circuits, activating protective measures to isolate the load from potential damage. A key component of the system is the integration of a 555 timer, which provides precise timing for relay activation, enhancing the responsiveness of the protection mechanism. Experimental results demonstrate the effectiveness of the proposed system in detecting phase failures swiftly and preventing adverse effects on the three-phase load. This innovative approach offers a cost-effective and reliable solution for phase failure protection in industrial and commercial settings, ensuring operational continuity and equipment longevity.

Features:
· Utilization of Transformers and RYB Phases for Voltage Measurement

· Regulated Power Supply for Stable Voltage Input

· Relay Circuits Triggered Upon Voltage Imbalance Detection.
This project provides exposure to the following technologies:
- Understanding and Implementation of Voltage Monitoring Techniques

- Utilization of Power Regulation for Stability in Voltage Input

- Integration and Operation of Relay Circuits for Automated Response

- Application of Precision Timing Components for Control Purposes

- Practical Application of Technologies for Industrial Continuity and Efficiency
The major building blocks of this project are:

1. Regulated Power Supply 
2. 3 transformers.

3. 3 Relays.
4. 555 timer.
5. R,Y,B Phases.
Regulated Power Supply:
[image: image4.jpg]



[image: image2.jpg]BLOCK DIAGRAM

230V

:l\/ TRANSFORMER

| RPHASE

RPS

=0 v PHAsE

RPS

) BPHASE

RPS

Y3INIL SSS

RELAY
R PHASE
RELAY
Y PHASE

RELAY
B PHASE





www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.

[image: image3.jpg]