[image: image1.jpg]Rectifier }.
) 7 Y
/
‘ Rectifier
5V DC , SNSRI
e [ 390t0400DC |
LCD 16F72 { Buck Converter
A i
— +———| Voltage Sensor
Voltage Sensor }—» [ e
4( Battery )7



  [image: image2.jpg]Hub far Versatile Seience &

Technologies






https://www.youtube.com/watch?v=TQhtJ0P9X7g
VOLTAGE ORIENTED CONTROLLER BASED VIENNA RECTIFIER FOR ELECTRIC VEHICLE CHARGING STATIONS
Vienna rectifiers have gained popularity in recent years for AC to DC power conversion for many industrial applications such as welding power supplies, data centers, telecommunication power sources, aircraft systems, and electric vehicle charging stations. The advantages of this converter are low total harmonic distortion (THD), high power density, and high efficiency. Due to the inherent current control loop in the voltage-oriented control strategy proposed in this paper, good steady-state performance and fast transient response can be ensured. The proposed voltage-oriented control of the Vienna rectifier with a PI controller (VOC-VR) has been simulated using MATLAB/Simulink. The simulations indicate that the input current THD of the proposed VOC-VR system was below 3.27% for 650V and 90A output, which is less than 5% to satisfy the IEEE-519 standard. Experimental results from a scaled-down prototype showed that the THD remains below 5% for a wide range of input voltage, output voltage, and loading conditions (up to 2 kW). The results prove that the proposed rectifier system can be applied for high power applications such as DC fast-charging stations and welding power sources
Objectives of the project:
1. Enhanced Power Quality:

· Minimize harmonic distortions in the grid.

· Ensure stable and reliable operation of the charging station.

2. Efficient Power Conversion:

· Optimize AC to DC power conversion efficiency.

· Minimize energy losses during the conversion process.

3. Fast Charging:

· Provide a stable DC output voltage for rapid EV battery replenishment.

· Enable high-speed charging without compromising safety.

4. Grid Integration:

· Facilitate bidirectional power flow for vehicle-to-grid (V2G) applications.

· Support grid stabilization services to enhance system flexibility and reliability.

5. Voltage Regulation:

· Maintain precise voltage control at the rectifier output.

· Ensure compatibility with various EV models and battery types.

6. Fault Tolerance:

· Implement robust fault detection mechanisms for safe operation.

· Provide protections against short circuits, voltage sags, and grid disturbances.

7. Scalability and Adaptability:

· Cater to different charging station configurations and power ratings.

· Support diverse demand profiles and deployment scenarios.

8. Compliance with Standards:

· Meet safety, interoperability, and performance requirements.

· Adhere to relevant industry standards and regulations.

9. Cost-effectiveness:

· Balance performance with affordability.

· Leverage advanced control algorithms and semiconductor devices for efficiency.

10. Environmental Sustainability:

· Promote EV adoption and clean energy integration.

· Contribute to reducing greenhouse gas emissions and environmental impact.

Top of Form

The major building blocks of the project are:
· Pic 16F72
· Battery
· Buck Converter
· Voltage Sensors
· Rectifiers
· LCD Display
Software’s used:

· Express PCB compiler.

· PIC C Compiler

· Express SCH circuit diagram
Block diagram:
[image: image3.jpg]



www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.

Dilsukhnagar: #F-8, 1st floor, Sreemaan Rama Towers, Opp:Kalanikethan, Chaitanyapuri, Hyderabad - 62.

[image: image2.jpg]