[image: image1.png]5vDC




  [image: image3.jpg]Hub far Versatile Seience &

Technologies






https://www.youtube.com/watch?v=pXO1uLdoT44&t=9s
SMART BLOOD OXYGEN AND HEART RATE MONITORING

In recent years, wearable health monitoring devices have gained significant popularity due to their potential to continuously track vital signs and provide real-time feedback to users and healthcare professionals. This project proposes a Smart Blood Oxygen and Heart Rate Monitoring System using Arduino Uno, MAX30100 sensor, LCD display, and Bluetooth module.

The MAX30100 sensor is utilized for its ability to non-invasively measure blood oxygen saturation (SpO2) and heart rate (HR) through photoplethysmography (PPG). An Arduino Uno microcontroller processes the sensor data, which is then displayed on a LCD screen in a user-friendly format. Additionally, a Bluetooth module enables wireless communication between the device and a mobile application, allowing for remote monitoring and data logging.

The main objectives of this project are to design a compact and efficient monitoring system that can accurately measure vital signs, display them in real-time, and facilitate data transmission for further analysis. The system is designed to be low-cost, making it accessible for personal health monitoring applications.

This abstract outline the methodology, components used, and the expected outcomes of implementing such a system. The prototype demonstrates the feasibility of creating a portable and effective health monitoring solution using readily available components and open-source hardware and software platforms.

The main objectives of the project are:
1. Designing a system for patients of respiratory problems.
2. Monitoring heartbeat, spo2 on LCD.

The project provides the following learning’s:
1. Operation of MAX 30100.
2. Embedded C programming.

3. PCB design.

The main building blocks of the project are:
1. RPS
2. Bluetooth module
3.  Arduino UNO 
4. MAX 30100

5. LCD display.
Software’s used:

1. Arduino IDE studio compiler for dumping program.

2. Express SCH for Circuit design.
Regulated Power Supply:

[image: image4.jpg]



Block diagram:
[image: image2.jpg]BLOCK DIAGRAM

MAX30100

RPS

ARDUINO
UNO

LCD

BLUETOOTH
MODULE




www.hvsprojects.blogspot.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.


[image: image3.jpg]