[image: image1.jpg]Adapter Power supply

Crystal
Oscillator

LCD display




  [image: image2.jpg]Hub far Versatile Seience &

Technologies






https://www.youtube.com/watch?v=3x61oa8YW2U
GSM Based Security-Based Circuit Breaker Maintenance
The smart ultra-fast electronic circuit breaker is designed to work as an over current protection device. Conventional circuit breakers like miniature circuit breaker or a fuse is good at breaking the circuit when a short circuit fault occurs. But when an overload fault occurs, the tripping time is slow and depends on the percentage of overload. However, for sensitive loads it is very important to activate the tripping mechanism at the shortest possible time, preferably instantaneously. This project senses the current passing through a series element and the corresponding voltage drop is rectified to dc. This voltage is converted into a digital value and compared against a preset value by a microcontroller to generate an output that drives a relay to trip the load.

The unit is extremely fast and overcomes the drawback of the conventional circuit breakers. It uses a PIC Microcontroller. If the microcontroller detects the heavy load, it will break the circuit through opto-coupler and send the alert SMS to the predefine mobile number through GSM. The LCD displays the current status of the breaker.
A microcontroller is one of the main components used here. The current transformers act as the sensor. The current transformer senses the current passing through the main circuit and steps it down to a smaller value. The current in the main circuit can be sensed by taking the voltage drop across a resistor or by using an opto-coupler. But the current transformer is preferred as it is easy to use, avoids unnecessary energy losses and provides isolation. The current transformer will take the current in the main circuit and step it down to a very small value. This current is converted into voltage by passing it over a series resistor. This voltage is rectified and filtered and then given to the microcontroller.

Features: 
1. Automatic circuit breaker detection.
2. GSM based alerting system.
3. Visible alerts using LCD display.
The major building blocks of this project are:
· Regulated power supply.
· PIC Microcontroller. 
· CT(CURRENT TRANSFORMER). 
· TRAIC.
· DAIC.
· Current sensor.
· LCD display.
Software’s used:

1. PIC-C compiler for Embedded C programming.

2. PIC kit 2 programmer for dumping code into Micro controller.

3.  Express SCH for Circuit design.

Block Diagram:
[image: image3.jpg]



www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.
Dilsukhnagar: #F-8, 1st floor, Sreemaan Rama Towers, Opp:Kalanikethan, Chaitanyapuri, Hyderabad - 62.

[image: image2.jpg]