
Ultra-Fast Electronic Circuit Breaker

The smart ultra fast electronic circuit breaker is designed to work as an over current protection device. Conventional circuit breakers like miniature circuit breaker or a fuse is good at breaking the circuit when a short circuit fault occurs. But when an overload fault occurs, the tripping time is slow and depends on the percentage of overload. However, for sensitive loads it is very important to activate the tripping mechanism at the shortest possible time, preferably instantaneously. This project senses the current passing through a series element and the corresponding voltage drop is rectified to dc. This voltage is converted into a digital value and compared against a preset value by a microcontroller to generate an output that drives a triac to trip the load.

The unit is extremely fast and overcomes the drawback of the conventional circuit breakers. It uses a PIC Microcontroller. 

A microcontroller is one of the main components used here. The current transformer acts as the sensor. The LCD displays the current status of the breaker. The current transformer senses the current passing through the main circuit and steps it down to a smaller value. The current in the main circuit can be sensed by taking the voltage drop across a resistor or by using a Potential Divider. But the current transformer is preferred as it is easy to use, avoids unnecessary energy losses and provides isolation. The current transformer will take the current in the main circuit and step it down to a very small value. This current is converted into voltage by passing it over a series resistor. This voltage is rectified and filtered and then given to the microcontroller. When current increases behind the certain limit then we are going to trip the load by using triac. 

The main blocks of this project are:

1. Power Supply.

2. Microcontroller.
3. Current Transformer.

4. Crystal oscillator.

5. Reset.

6. LED indicators.

7. LCD with driver.
8. Triac&diac.

9. Potential Divider

Block diagram:

[image: image1.jpg]Ultra Fast Acting Electronic Circuit Breaker

Power Supply
s Diac
!
Triac
PIC 1
MICRO
Current
CONTROLLER T
LCD LCD '
Display |«—| Driver [~ Load
|| LED Indicator





www.hvstechnologies.in                                                                    Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73. 

