[image: image1.png]230v AC 12v AC 12v pulsating DC 12v DC
Step down
— Transformer |__,| Rectifier Filter [, Regulator

5V DC



  [image: image3.jpg]Hub far Versatile Seience &

Technologies






Underground Cable Fault Detection using IOT server
The objective of this project is to determine the distance of underground cable fault from base station in kilometres. The underground cable system is a common practice followed in many urban areas. While a fault occurs for some reason, at that time the repairing process related to that particular cable is difficult due to not knowing the exact location of the cable fault. The proposed system is to find the exact location of the fault. ESP8266 WI-FI module is used to upload the cable fault intimation into the thingspeak cloud along with date and time.
The project uses the standard concept of Ohms law i.e., when a low DC voltage is applied at the feeder end through a series resistor (Cable lines), then current would vary depending upon the location of fault in the cable. In case there is a short circuit (Line to Ground), the voltage across series resistors changes accordingly, which is then fed to an ADC to develop precise digital data which the programmed microcontroller would display in kilometres. 

The project is assembled with a set of resistors representing cable length in KM’s and fault creation is made by a set of switches at every known KM to cross check the accuracy of the same. The fault occurring at a particular distance and the respective phase is displayed on a LCD and intimate to the user mobile through Bluetooth interfaced to the microcontroller.

The main objectives of the project are:

1. Fault detection in underground cables.
2. Using IOT technology to up load the thingspeak cloud.

3. Tracing of exact location where fault has occurred.

4. Display continuously on LCD.

5. Wireless data monitoring using IOT technology.

The project provides learning’s on the following advancements:
1. Fault detection techniques
2. Interfacing LCD and microcontroller.
3. Interfacing ESP8266 WI-FI module to the microcontroller.
4. Conversion of AC supply to DC supply.
5. Embedded C programming.
6. PCB design concepts
The major building blocks of this project are:
1. Regulated power supply

2. PIC Microcontroller.
3. LED indicators.

4. Fault switches.
5. ESP8266 WI-FI module.

6. Reset.

7. LCD with driver.

8. Crystal oscillator.

Software’s used:

1. PIC-C compiler for Embedded C programming.

2. PIC kit 2 programmer for dumping code into Micro controller.

3.  Express SCH for Circuit design.

Regulated Power Supply:

[image: image4.jpg]



BLOCK DIAGRAM:

[image: image2.jpg]Underground Cable Fault Detection using IOT server

Regulated Power Supply

LCD LCD
[ — Driver —{ Display
Switches
l PIC MICRO ESP8266
Curmrent CONTROLLER Wi-Fi | Thingspeak
sensing circuit
in the cable
| Reset
Crystal ]
Oscillator " LED Indicators




  

www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.


[image: image3.jpg]