[image: image1.jpg]Hub far Versatile Seience &

Technologies





[image: image2.jpg]



  [image: image2.jpg]

https://www.youtube.com/watch?v=oSEAGzwx_2o
OPTIMAL INTERCONNECTION DEVICE FOR DISTRIBUTED ENERGY RESOURSE OF CUSTOMER
AIM:

      The main aim of the project is to switch the ups system according to the power supply.

PURPOSE:

       The objective of the present project “Automatic mains changeover switch for uninterrupted power supply” is to satisfy the above needs with an extent.
BLOCK DIAGRAM:














POWER SUPPLY:




DESCRIPTION:

       Automatic mains changeover switch for uninterrupted power supply is an integral part of the power control process, allowing smooth and immediate transfer of electrical current between multiple sources and the load. Here we are using two transformers TF1 (Main transformer) and TF2 (Backup transformer). The transfers switch senses when utility power is interrupted, and starts up the transformer TF2 which acts as a backup transformer. If the utility power remains absent, the transfer switch disconnects the load from the utility and connects it to the Transformer TF2, restoring electricity to the load. The transfer switch continues to monitor utility power, and when it is restored, switches the load from the Transformer TF2 back to the Main transformer TF1. Once the Transformer TF2 is disconnected, it goes through a cool-down routine and is automatically shut down.

     The present system is designed around two transformers. One transformer (TF1) is used as the main supply and the other transformer (TF2) is used in the place of the generator (for demo purpose). These two transformers are connected with the relay which is controlled by the embedded controller. The loads are connected to the main line (TF1) and as well as to the TF2.

     Initially TF1 is connected to the load, the loads run with this power. Due to any reason this power is interrupted, then it is identified by the controller and it immediately switches ON to the TF2 through the relay. The controller continuously monitors the TF1 (main line). When it finds the power on it again switches the loads connection to the main line.

HARDWARE USED:

· Microcontroller
· Power supply
· Relay
· LCD
· Loads
· ADC 
· Current Transformer
SOFTWARE USED:     
· PIC C
· Embedded C

· Express PCB

· PIC KIT 2
APPLICATIONS:
●
Industrial areas

●
House hold purpose
●
Shopping malls

RESULT:
        By this project automatically ups system is turn on and turn off when ever the power is off and power is on respectively.



POWER SUPPLY








LCD DISPLAY














MICRO


CONTROLLER





Regulator               section





    Filter


Circuit





    Bridge


Rectifier





MANI SUPPLY


(TF1)





BACKUP


SUPPLY


(TF2)





RELAY








LOAD








Regulator         section








Filter


Circuit








Bridge


Rectifier








  Step Down


Transformer








www.hvstechnologies.in                                                                            Ph: +91 9603140482

Ameerpet:      #A-7, 2nd floor, Eureka court, Above KS bakers, Ameerpet, Hyderabad – 73.



1

