NONINVASIVE GLUCOSE CONCENTRATION MEASUREMENT SYSTEM

Noninvasive glucose concentration measurement systems have garnered significant interest due to their potential to revolutionize diabetes management by eliminating the need for frequent finger-prick tests. This project proposes a novel approach using a hardware components and real-time glucose monitoring.

The system utilizes an Arduino UNO microcontroller as the central processing unit, interfaced with a Near-Infrared (NIR) module for noninvasive glucose measurements. Power is supplied to the system through a reliable power supply unit, ensuring continuous operation. An LCD display provides local visualization of glucose readings, enhancing user accessibility.

This project aims to develop a cost-effective, user-friendly noninvasive glucose monitoring system that enhances diabetes management by providing real-time data visibility and reducing the discomfort associated with traditional glucose testing methods. Future iterations will focus on improving measurement accuracy and expanding the system's connectivity features to support broader healthcare applications.

The major building blocks of this project are:

- Adapter Power supply.

- Arduino UNO.

- NIR module.

- LCD display.

Software’s used:

- ARDUINO IDE.

- Embedded C language.