GlucoBand – A Non-Invasive Glucose Monitoring System

GlucoBand is a wearable, non-invasive glucose monitoring system that utilizes a NIR sensor and optical techniques for glucose level estimation. The system is built around an Arduino Nano, which processes sensor data and displays real-time glucose readings on an OLED screen. Bluetooth connectivity enables wireless data transmission to a smartphone or other devices for continuous monitoring. The device is powered by a rechargeable battery, ensuring portability and long-term use. By employing a non-invasive optical method, GlucoBand eliminates the need for frequent blood sampling, providing a user-friendly and cost-effective solution for diabetes management.

The major building blocks of this project are:

- Battery Power supply.

- Arduino NANO.

- NIR module.

- OLED display.

- HC-05 Bluetooth.

Software’s used:

- ARDUINO IDE.

- Embedded c language.